## public health
PUBLIC HEALTH ITEMS
S.No. | Description | Unit | SS Rate for 2003-2004
1 | 2 | 3 | 4
30 | Excavation of trenches for infiltration galleries, syphon lines and connecting mains in all soils under water including all leads, lifts, shoring, strutting, bailing out water and removal of shoring and strutting materials, after completion of pipe line work.
| a) 0 to 1 m deep under water. | 10 Cum | 4051
| b) 1 to 2 m deep under water. | 10 Cum | 5803
| c) 2 to 5 m deep under water. | 10 Cum | 8376
| d) Beyond 5 m deep under water for every additional 1 m depth over item 'c' | 10 Cum | 1585
NOTE:- The above rates do not include rock requiring blasting or chiselling
33 | Centring and scaffolding charges for RCC members including all materials and labour charges for forming and dismantling a) for R C C Elevated Service Reservoir of staging up to 15 metre below L W L.
| 1) Slabs for thickness (150 mm to 300 mm) | One Sqm of Centering area | 722.2
| 2) Slabs for thickness above (300 mm) |  | 1443.8
| 3) Side walls curved surfaces. |  | 545.9
| 4) Side wall straight surfaces. |  | 485.5
| 5) Dome. |  | 591.4
| 6) Roof Slab. |  | 364.2
| 7) Column footing. |  | 398.1
| 8) Column braces and beams |  | 243.5
| 9) Circular braces, ring beams & circular column. |  | 266.8
Note:- For RCC ELSR of staging above 15 m observed data may be worked out for the extra staging taking into consideration, the quantum of concrete to be lifted, extra scaffolding involved etc., and may be adopted in the working estimate after getting approval from the competent authority.
b) For Ground level works :-
| 1) Slabs | 1 Sqm | As per Common SSR
| 2) Beams & Lintels | 1 Sqm
| 3) Sun shades | 1 Sqm
| 4) RCC vertical walls of plane surface upto 3 m height such as ground level tanks clarifiers and sludge digesters etc. | 1 Sqm | 268.8
| 5) RCC vertical walls of circular faces upto 3 m height. | 1 Sqm | 337.2
| NOTE: Scaffolding for every extra height of 1 m or part thereof but not less than 0.5 m - 10 Sqm. | 10 Sqm
34 | Lift or delift of materials :
| a) Lifting of cement concrete for RCC elevated reservoir. For every 3 m height or part thereof over the initial lift of 5 m | 1 Cum | 49.3
| b) Delifting the materials such as stones, concrete etc., for concrete below ground level for construction of masonry ground level reservoirs, inspection wells, test wells and sump wells etc., for every 2 m depth or part thereof beyond the initial depth of 4 m from ground level | 1 Cum | 15
47 | Conveyance of PVC pipes and accessories including loading, unloading and stacking. |  | Deleted
48 | Well sinking in sandy and other loose soils under water either by manual labour, divers, or dredgers, weighting the top of staining to assist sinking etc., including dewatering and other incidental charges such as hire charges for mechanical equipment etc., complete upto 4 m internal dia.
| Upto 2 m below GL/m | Per metre | 8060
| From 2 to 4 m below GL/m | Per metre | 8827
| From 4 to 6 m below GL/m | Per metre | 9978
| From 6 to 8 m below GL/m | Per metre | 11251
| From 8 to 10 m below GL/m | Per metre | 12437
Note:-Below 10 m for every metre depth or part thereof add Rs.250/- per m. For higher dia, observed data is to be prepared and got approved.
52 | Rates for OHSRs/ELSRs including fixtures with a staging of 15 m.
a | 40,000 Litres capacity | Per litre | 9.3
b | 40,001 to 60,000 Litres capacity | Per litre | 7
c | 60,001 to 1,00,000 Litres capacity | Per litre | 6.5
d | 1,00,001 to 2,00,000 Litres capacity | Per litre | 5.7
e | 2,00,001 to 3,00,000 Litres capacity | Per litre | 5.3
f | 3,00,001 to 4,00,000 Litres capacity | Per litre | 4.7
g | 4,00,001 to 5,00,000 Litres capacity | Per litre | 4.1
NOTE: -1) The above rates are applicable for elevated level services reservoirs (OHSRs) with independent footings and a rate of Rs.3,000/- per tonne for cement and Rs.15,000/- per tonne for steel.
2) For every metre height of staging above 15 m or less than 15 m, the rate shall be increase/reduced by Rs.0.02 paise per litre.
3) For every Rs.100/- increase/decrease in price of cement per tonne increase/decrease the rate by 0.7%
4) For every Rs.1000/- increase/decrease in price of steel per tonne increase/decrease the rate by 2%
5) Rate inclusive of three coats of epoxy paint to inner surface of the reservoir including roof dome.
6) For intermediate ranges proportional rates may be adopted.
7) The above rates be adopted for estimate purposes for construction of ELSR for a finished work including 2 coats of snowcem painting for external surfaces, lettering, fixing of all required fixtures, pipes, bends, valves etc., for pipe connections, but excluding cost of pipes, bends and valves, as per departmental designs and drawings.
8) The above rates are arrived considering a wind pressure as per BIS No.875/88
9) For Tribal/Agency area, the above rates shall be increased by 5%.
10) Fixtures include :
a) RCC or Aluminium ladder inside 0.45 m wide.
b) Dog legged staircase of 1.0 m wide.
c) M.S. Ladder/spiral on the outside.
d) Lightening arrestor, including conductor and earthing etc.
e) RCC ventilators with copper or stainless steel fly proof mesh.
f) RCC finial ventilators with copper or stainless steel fly proof mesh.
g) Manholes frame and cover 0.75x0.75 m with frame as per IS specifications (light duty) - 2 Nos.
h) Railing with 32 mm dia G.I. Pipes (A class) in two rows around OHSR fixed in RCC (1:2:4) posts of size 100x75x75 mm with 1.5 m intervals around periphery on top of the OHSR for smaller capacities.
i) Water level indicator of good quality with ebonite/ copper float approved pattern- 1 No.
53 | Construction of rapid gravity filtration plant including civil, mechanical and electrical trial running etc., complete.
| 1) 0 - 2.0 Mld capacity | Per litre | 1.5
| 2) Above 2.0 & upto 5.0 Mld | Per litre | 1.3
| 3) Above 5.0 & upto 10.0 Mld | Per litre | 1.2
| 4) Above 10.0 & upto 20.0 Mld | Per litre | 1.1
| 5) Above 20.0 Mld | Per litre | 0.9
NOTE: - a) The above rates are applicable with cement @ rate of Rs.3,000/-MT and steel of 15,000/MT.
b) For every Rs.100/MT increase/decrease the price of cement increase/reduce the rate by 0.7%.
c) For every Rs.1000/MT increase/decrease in price of steel increase/reduce the rate by 2%.
NOTE:-The cement rate is to be checked with District Collector and R & B Dept. regularly and correction carried in respect of rates where use of cement is involved.